## Slide 1
Arch. Maysoon Al-Khuraissat
​M.Arch, LEED AP, USGBC Faculty,
IFC EDGE Expert, Auditor & EDGE Faculty
PA- Professional Architect- Sustainability and Green Building
HTU Industry Fellow
WELCOME TO

## Slide 2: بسم الله الرحمن الرحيم ﴿هو أنشأكم من الأرض واستعمركم فيها﴾ هود، آية 61
In the Name of Allah, the Most Beneficent, the Most Merciful
(He brought you forth from the earth, and settled you therein)
Hud, 61

## Slide 3
www.worldgbc.org
Planet
People
Profit
In order to have a Sustainable Future, we must hold responsibility and take actions

## Slide 4: IDEAS to discuss today
How can an integrated design approach bring value to the built environment?
What are some of the essential solutions for sustainable campuses?
What is EDGE and how can its considerations reflect urban design?
How can the EDGE system enable facilities to reduce their carbon footprint through lower greenhouse gas emissions?
How can EDGE encourage more affordable green solutions in high-growth, urban areas?
IDP
Sustainable Campus
EDGE
Decarbonization
Affordable Solutions

## Slide 5
الاستدامة في مجمع الملك الحسين للأعمال
Sustainability at KHBP

## Slide 6: Sustainability aspects at KHBP original design
Designed to be GREEN
Designed for Walkability
Had Cycling Tracks
Have Free Shuttle Busses
Had an Electrical Charging Station
Have Efficient Exterior Lighting
Have an Efficient Irrigation System
Had a Greywater System
Have Energy & Water Efficient buildings
Have Indoor Thermal Comfort

## Slide 7: GREEN Vision for KHBP
Green Building Certification for Existing Office Buildings
Green Design, Construction, and Certification for All New Buildings
Build an off-site PV Power Station to cover the campus’s electricity consumption
CERTIFIED
GREEN CAMPUS

## Slide 8
Performance Based Design

## Slide 9
EDGE MAKES IT FASTER, EASIER AND MORE AFFORDABLE THAN EVER BEFORE TO BUILD AND BRAND GREEN.
________
EDGE is an innovation of IFC, a member of the World Bank Group.
The Tool and the Rating System we choose
Notes: Thank you for your time today in allowing me to introduce EDGE.
EDGE is a fast, easy, and affordable way to build green in more than 140 countries.
Today I’ll share with you how EDGE can help you to attract more loyal customers.
You’ll see that by adopting EDGE, your company can become more competitive and demonstrate leadership in the green building space.
EDGE is an innovation of IFC, a member of the World Bank Group.

## Slide 10
20%
The SOLUTION IS EDGE:
A SOFTWARE,
A STANDARD,
& A GREEN BUILDING CERTIFICATION SYSTEM.
________
Notes: The solution is EDGE: a software, a standard, and a green building certification system.
EDGE recognizes the need for a measurable solution, with:
Free software for choosing the most cost-effective ways to build green.
A green building standard of 20%.
And a certification system to reward green building projects.

## Slide 11: KHBP Green Campus- Phase 1
May -2018

## Slide 12
47%
44%
King Hussein Business Park
Building 4
91%
Achieved
EDGE Advanced Certification
February -2019
The Start!

## Slide 13
KHBP Building 4 - Positive ECONOMICAL Impact
(3,630m2)

## Slide 14
Our Green Building’s Reduction of the GHG Emissions equivalence to taking 23 Passenger vehicles driven off-road for one year.
Our Green Building’s Reduction of the GHG Emissions equivalence to the CO2 emissions from energy use for 13 homes for one year.
Our Green Building’s Reduction of the GHG Emissions to Carbon Sequestered by Planting 1,790 seedling for 10 years
Operational CO₂ Savings= 108 tCO₂/Year
KHBP Building 4 - Positive Environmental Impact
(3,630m2)

## Slide 15
KHBP Green Achievements Featured in Media
Websites, Magazines, Social Media, Newspapers
Featured in GBCI Project Study
Featured on IFC EDGE website & Media Channels
Featured in Regional Media
Featured in Local Media

## Slide 16
Continue
The work

## Slide 17: The KHBP Campus & Infill Buildings
Infill A01-5

## Slide 19
42%
35%
24%
Achieved
EDGE Advanced Certification

## Slide 20
Efficiency Measures
Typology
19 Total Efficiency Measure
Offices/ Core & Shell
EDGE Version: V2.1.5

## Slide 21
Layout- Project Level - Subproject Level
Building A01
Site Plan

## Slide 22
42%
Energy Efficiency Measures

## Slide 23
Elevation 1-SW | 39.01%
Elevation 2-SE | 32.64%
Elevation 3-NE | 38.32%
Elevation 4-NW | 32.72%
KHBP- Infill
Elevations
Window-to-Wall Ratio
4
1
3
2

## Slide 27
VRF Cooling System

## Slide 29
COP= Total Cooling Capacity (kW)/ Power Input (kW)
Calculated Weighted COP

## Slide 33
35%
Water Efficiency Measures

## Slide 34
Design Drawings
Technical Datasheet
Delivery Note
Installation in Site

## Slide 35
24%
Material Efficiency Measures

## Slide 36
Slab Design and Construction
Delivery Notes

## Slide 37
Achieved EDGE Advanced Certification

## Slide 38
فوائد مستقبلية
للحصول على شهادة البناء الأخضر للمشروع
فوائد تسويقية:
الإسراع في التأجير وطلب أسعار تفضيلية
استهداف الشركات العالمية والمؤسسات الدولية
فوائد تمويلية:
تسهيل الحصول على قروض خضراء بأسعار تفضيلية
تسهيل الحصول على منح دولية
فوائد بيئية محسوبة وموثقة:
يمكن استخدامها لحسابات الأثر البيئي للمشروع وخفض الكربون.
Expected Savings
$6,600 monthly
$79,000 annually
Payback Period in 20.5 month
Carbon Reduction
712 tCO2 /year

## Slide 39
The New Logo and Identity

## Slide 41
Stainability is a Teamwork
Owner
Green Consultant
Designer
Contractor
Green Rating
Creator
Certifier

## Slide 42
Tenants Guidelines (Core & Shell)

## Slide 43
Tenants Guidelines (Core & Shell)
Efficient lighting fixtures
Efficient water fixtures
Floor finish material
Walls and Partitions
Energy-saving systems
adaa, Sustainable Development Consultants office
Recycled & Recyclable material
Biophilic Design
Recycling Program

## Slide 45
Sharing sustainable thinking to sustain

## Slide 47
Is it applicable outside the Business Park?

## Slide 49
The most recent project in Jordan achieved
EDGE Advanced Certification
Oak Saraya
سرايا البلوط

## Slide 50
Let Us Go Back to the Business Park.
https://businesspark-jo.com/photo-gallery/
https://www.google.com/maps/place/King+Hussein+Business+Park/@31.9714291,35.8333901,940m/data=!3m1!1e3!4m6!3m5!1s0x151ca17ed1965e8d:0xd93a3913affa5945!8m2!3d31.9717977!4d35.8338515!16s%2Fg%2F1hc36xpqk

## Slide 51: KHBP Campus Growth

## Slide 59
What do you think?